## LNG Regasification
Asset Name | LNG regasification terminal at Sagunto
Asset id | 4bce13c5-8252-4787-b33e-0af8043c7511
Asset Type | LNG Regasification
Country | Spain
Latitude | 39.6339
Longitude | -0.21509
Operated? | Yes
Operator | Planta de Regasificación de Sagunto, S.A.
% Equity | 100%
Description of the Asset | LNG Import terminal with: 4 Tanks (150.000 m3 each); 3 LNG unloading arms, 1 vapour return; 12 intake pumps; 8 secondary pumps; 1 seawater intake (6 pumps); 5 Open rack vaporizers (200.000 Nm3/h each); 1 Submerged combustion vaporizer (150.000 Nm3/h); 1 Sendout compressor; 2 truck loading platforms; 1 metering station | Activity Factors |  | Emission Factors |  | Levels 1, 2, 3, 4
[6 empty] | Methane | Uncertainty | Level | Comments | Comments | Source for own data (please include one or more "X")
|  | Data | Unit | Data | Unit |  |  | Please indicate the Level of the data: 1 / 2 /3 / 4 | L4 method | Please feel free to provide any additional information (e.g.- Investments/divestments of facilities in the asset) | Measurements | EF Measurements | EF Literature | Calculation | Modelling | Estimation
3 | ASSET - TOTAL EMISSIONS |  |  |  |  | 110206.184 | 27 | Level 4 | Measurement based emission factor | kg Methane. Uncertainty % indicated for the material contribution.
3.1.a | Fugitive Emissions | [5 empty] | 45 | Level 4 | Measurement based emission factor | kg Methane. Accredited body by ENAC + Saggas team // Unintended equipment leaks TGD followed. // 100% LNG terminal components inventoired. // MATERIAL // Uncertainty %
3.1.a.1 | Connections (flanges, seals, joints) |  |  |  |  | 368.23 |  | Level 4 | Measurement based emission factor | kg Methane. LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration.// Uncertainty % | X | X
3.1.a.2 | Valves and control valves |  |  |  |  | 306.25 |  | Level 4 | Measurement based emission factor | kg Methane. LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration.// Uncertainty % | X | X
3.1.a.3 | Pressure relief valves |  |  |  |  | 1.11 |  | Level 4 | Measurement based emission factor | kg Methane. LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration.// Uncertainty % | X | X
3.1.a.4 | BD-OEL (blow-down open ended line) |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.a.5 | OEL |  |  |  |  | 0.04 |  | Level 4 | Measurement based emission factor | kg Methane. LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration.// Uncertainty % | X | X
3.1.a.6 | Others |  |  |  |  | 204.86 |  | Level 4 | Measurement based emission factor | kg Methane. LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration.// Uncertainty % | X | X
3.1.b | Vents | [6 empty] | Level 4 | Others | Accredited body by ENAC + Saggas engineers // Purging and venting, starts and stops and other procss and maintenance vents and Incidents, emergency stops and malfunctions TGDs followed. // MATERIAL// Uncertainty %
3.1.b.1 | Purging & venting (maintenance, process, commissioning&decommissioning) |  |  |  |  | 740.966 | 57 | Level 4 | Others | kg Methane. LEVEL 4 - 100% Maintenance events registered. Maintenance events with CH4 emissions, quantification via engineering calculations /// LEVEL 4 100% population events registered from vessels unloading/loading and loading road tankers + Screening Value emissions via representative sample number of vessels and tankers measured + EF reference Method 21 & UNE-EN 15446 + leak duration /// // Uncertainty % | X | X |  | X
3.1.b.2.a | Pneumatic devices |  |  |  |  | N/A
3.1.b.2.b | Gas analysers |  |  |  |  | 45.563 | 54 | Level 4 | Detailed engineering calculations | kg Methane. LEVEL 4 - Gas flow + Engineering calculations, 100% year covered.// Uncertainty % |  |  |  | X
3.1.b.2.c | Seals of the compressor units |  |  |  |  | N/A
3.1.b.2.d | Others |  |  |  |  | N/A
3.1.b.2.e | Reciprocating compressor rod packing |  |  |  |  | N/A
3.1.b.3 | Incident / Emergency vents |  |  |  |  | 108526.928 | 27 | Level 4 | Measurement based emission factor | kg Methane. LEVEL 4 INCIDENTS TGD- 100 % events registered, implemented management reporting. Quantification QFLIR (108509,96 kg) and other incidents with best judgement: EF souce type API compendium + time. MATERIAL in year 2024 // Uncertainty % indicated for the material contribution. |  | X |  | X
3.1.b.4 | Others |  |  |  |  | N/A
3.1.b.5 | Start/stop vents |  |  |  |  | 0 |  | Level 3 |  | No emissions as start LNG terminal event
3.1.b.5.a | Total emission caused by starts |  |  |  |  | 0 |  | Level 3 |  | No emissions as start LNG terminal event
3.1.b.5.b | Total emission caused by stops |  |  |  |  | 0 |  | Level 3 |  | No emissions as start LNG terminal event
3.1.b.6 | Vents associated to additional services |  |  |  |  | N/A
3.1.c | Incomplete combustion | [6 empty] | Level 4 | Detailed engineering calculations
3.1.c.1 | Gas combustion devices |  |  |  |  | 0.237 |  | Level 4 | Detailed engineering calculations
3.1.c.1.a | Turbines |  |  |  |  | N/A
3.1.c.1.b | Engines |  |  |  |  | N/A
3.1.c.1.c | Heaters/pre-heating system/boilers, gas dehydration unit/etc |  |  |  |  | N/A
3.1.c.1.d | SCV |  |  |  |  | 0.237 | 54 | Level 4 | Detailed engineering calculations | kg Methane. LEVEL 4 - Gas flow + Engineering calculations, 100% year covered. | X |  |  | X
3.1.c.1.e | Others |  |  |  |  | N/A
3.1.c.2 | Flaring |  |  |  |  | 12 | 21 | Level 4 | Detailed engineering calculations | kg Methane. LEVEL 4 - Gas flow + Engineering calculations, 100% year covered. | X |  |  | X
Level5 | ASSET - TOTAL EMISSIONS L5 |  |  |  |  | 86855.4 | 40.37 | Level 5 | Measurement based emission factor | 9,915 kg/h ; 40,37 % uncertainty.

## List of Excluded Entities
LIST ASSETS/ VENTURES EXCLUDED FROM THE SUBMISSION
Asset/ Venture Name | Asset id | Asset Type | Reason for exclusion | Country | Latitude | Longitude | Operated? | Operator | Reported by another OGMP 2.0 Member? | % Equity (Note- Ownership of emissions) | (Divested assets) Please indicate month/year when the asset was divested | (Divested assets) Was the asset divested to an OGMP2.0 member? (Y/N) | Comments
SAGGAS - Transmission 7 km pipeline | 378286c8-e923-5a9d-bd15-4262b73b8ca6 | Transmission Pipelines | Reported by another OGMP 2.0 Member | Spain | 39.6317 | -0.21725 | No | Enagás | Yes | 100% |  | No | Transmission 7 km pipeline

## version (hidden)
version | MidandDownstream_ReportingTemplate_2025_v2

## ListofCountries (hidden)
Côte d'Ivoire | 2iRete | Distribution-Compressors
Democratic People's Republic of Korea | Abu Dhabi National Oil Company (ADNOC) | Distribution Grid
Lao People's Democratic Republic | Adrigas SpA | Distribution LNG Satellite
Afghanistan | Aker BP | LNG Liquefaction
Albania | Amber Grid | LNG Regasification
Algeria | APA Corporation | LNG Transport
Andorra | AS GASO | Shipping
Angola | Asharami Energy | Transmission Compressor Station
Antigua and Barbuda | Atlantic LNG | Transmission LNG Peak Shaving
Argentina | Azule Energy Angola | Transmission Pipelines
Armenia | Bahia de Bizkaia Gas, S.L. (BBG) | Transmission Stations
Australia | Bapco Energies | UGS
Austria | bp | Gathering and boosting facilities
Azerbaijan | Cairn Oil & Gas Vedanta Limited | Abandoned wells
Bahamas | Cheniere | Exploration
Bahrain | Chesapeake | Gas Processing Unit
Bangladesh | Chevron Corporation | Production Offshore
Barbados | China Gas Holdings Limited | Production per region/basin: Onshore – Conventional
Belarus | Civitas Resources | Production per region/basin: Onshore – Unconventional
Belgium | Conoco Phillips | Tank batteries
Belize | Coteq Netbeheer B.V.
Benin | Coterra
Bhutan | Crescent Energy
Bolivia (Plurinational State of) | Depomures
Bosnia and Herzegovina | Devon Energy
Botswana | Diamondback Energy
Brazil | Distrigaz Sud Retele
Brunei Darussalam | Diversified Energy
Bulgaria | Dugan Production Corporation
Burkina Faso | Ecopetrol
Burundi | Enagás
Cabo Verde | Enaon
Cambodia | Encino Energy
Cameroon | Energienetze Bayern GmbH & Co.KG
Canada | Energinet
Central African Republic | Enexis
Chad | Engie Mexico
Chile | Engie Stream Solutions Chile
China | Eni
Colombia | EOG Resources
Comoros | EP Petroecuador
Congo | EQT Corporation
Costa Rica | Equinor
Croatia | Eustream, a.s.
Cuba | EWE GASSPEICHER GmbH
Cyprus | EWE NETZ GmbH
Czechia | Expert Petroleum
Democratic Republic of the Congo | ExxonMobil
Denmark | FGSZ Hungary
Djibouti | Floene
Dominica | Fluvius
Dominican Republic | Fluxys Belgium
Ecuador | Gas Connect Austria
Egypt | Gas Storage Denmark
El Salvador | GASCADE Gastransport GmbH
Equatorial Guinea | GasNet
Eritrea | Gasunie Deutschland Transport Services GmbH
Estonia | Gate Terminal
Eswatini | Gaz System S.A
Ethiopia | GEI SPA
Fiji | GNL Mejillones
Finland | GNL Quintero
France | GRDF
Gabon | GRTgaz
Gambia | GRTgaz Deutschland GmbH
Georgia | Harbour Energy
Germany | Hellenic Gas Transmission System Operator (DESFA) S.A.
Ghana | Heritage Petroleum
Greece | Inpex Corporation
Grenada | Italgas
Guatemala | Ithaca Energy
Guinea | Jonah Energy LLC
Guinea-Bissau | KazMunayGas
Guyana | Kiwetinohk
Haiti | KPO - Karachaganak Petroleum Operating
Honduras | LD RETI
Hungary | Liander N.V.
Iceland | Madrilena Red de Gas
India | MEDGAZ, S.A.
Indonesia | Metrogas
Iran (Islamic Republic of) | Moldovagaz
Iraq | N.V. RENDO
Ireland | Nafta
Israel | Naftogaz
Italy | NEDGIA (Naturgy Group)
Jamaica | NEL GasTransport GmbH
Japan | Neptune Energy
Jordan | Netze-Gesellschaft Sudwest mbH (NGS)
Kazakhstan | Nigeria LNG
Kenya | NNPC
Kiribati | North Caspian Operating Company (NCOC)
Kuwait | Nowega GmbH
Kyrgyzstan | NTS Brazil
Latvia | NV Nederlandse Gasunie
Lebanon | Oman LNG
Lesotho | OMV AG
Liberia | ONE-Dyas
Libya | ONTRAS Gastransport GmbH
Liechtenstein | Open Grid Europe (OGE)
Lithuania | Oxy
Luxembourg | Pertamina
Madagascar | Petrobras
Malawi | Petroleum Development Oman (PDO)
Malaysia | Petronas
Maldives | Pioneer Natural Resources
Mali | PLANTA DE REGASIFICACIÓN DE SAGUNTO, S.A. (Saggas)
Malta | Presidio Petroleum
Marshall Islands | PTTEP
Mauritania | PureWest
Mauritius | Qatar Energy
Mexico | QB Energy
Micronesia (Federated States of) | REN
Moldova | REN Portgás
Monaco | Repsol
Mongolia | RetiPiu
Montenegro | Retragas
Morocco | Rheinische NETZGesellschaft mbH
Mozambique | Romgaz
Myanmar | schwaben netz gmbh
Namibia | Seapeak
Nauru | Serica Energy
Nepal | Shell
Netherlands | SierraCol
New Zealand | SNAM S.p.A.
Nicaragua | SOCAR
Niger | Stedin Netbeheer B.V.
Nigeria | Storengy Deutschland GmbH
North Macedonia | Storengy France
Norway | Storengy UK
Oman | TAG Brazil
Other | TeReGa
Pakistan | Terminal de LNG de Altamira
Palau | Terminale GNL Adriatico
Panama | terranets bw
Papua New Guinea | The National Gas Company of Trinidad and Tobago Limited (NGC)
Paraguay | Thüga Energienetze GmbH
Peru | Thyssengas
Philippines | TotalEnergies
Poland | Trans Adriatic Pipeline (TAP)
Portugal | Trans Austria Gasleitung GmbH (TAG)
Qatar | Triple Crown Resources
Republic of Korea | TRP Energy
Romania | Unareti
Russian Federation | Uniper Energy Storage GmbH
Rwanda | Var Energi
Saint Kitts and Nevis | Vital Energy
Saint Lucia | VNG Gasspeicher GmbH
Saint Vincent and the Grenadines | Wapiti Energy
Samoa | Westland Infra Netbeheer B.V.
San Marino | Williams
Sao Tome and Principe | Wintershall Dea
Saudi Arabia | Woodside Energy
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovakia
Slovenia
Solomon Islands
Somalia
South Africa
South Sudan
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Tajikistan
Thailand
Timor-Leste
Togo
Tonga
Trinidad and Tobago
Tunisia
Turkmenistan
Tuvalu
Türkiye
Uganda
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Uzbekistan
Vanuatu
Venezuela
Viet Nam
Yemen
Zambia
Zimbabwe