## LNG Regasification
Asset Name | BBG
Asset id | f9df9a40-9177-4962-8c39-d8ccc483f8d4
Asset Type | LNG Regasification
Country | Spain
Latitude | 43.3614
Longitude | 3.0988
Operated? | Yes
Operator | Bahia de Bizkaia Gas, S.L. (BBG)
% Equity | 100%
Description of the Asset | BAHÍA DE BIZKAIA GAS (BBG) is the owner of a Liquefied Natural Gas (LNG) Regasification Plant in the port of Bilbao. Our storage capacity amounts to 450,000m3 in three tanks (150,000m3 each), while our send out rate is 800,000Nm3/h. | Activity Factors |  | Emission Factors |  | Levels 1, 2, 3, 4
[6 empty] | Methane | Uncertainty | Level | Comments | Comments | Source for own data (please include one or more "X")
|  | Data | Unit | Data | Unit | kg/y |  | Please indicate the Level of the data: 1 / 2 /3 / 4 | L4 method | Please feel free to provide any additional information (e.g.- Investments/divestments of facilities in the asset) | Measurements | EF Measurements | EF Literature | Calculation | Modelling | Estimation
3 | ASSET - TOTAL EMISSIONS |  |  |  |  | 115780.902
3.1.a | Fugitive Emissions |  |  |  |  | 48411.11
3.1.a.1 | Connections (flanges, seals, joints) |  |  |  |  | 17370 | ± 2.297,9 | Level 4 | Measurement based emission factor | EHS Report 241718 LDAR 2nd-Type 2-2025 (flange and connector leaks) - ANNEX 16 | X |  | X
3.1.a.2 | Valves and control valves |  |  |  |  | 4460 | ± 1.008,2 | Level 4 | Measurement based emission factor | EHS Report 241718 LDAR 2nd-Type 2-2025 - ANNEX 16 | X |  | X
3.1.a.3 | Pressure relief valves |  |  |  |  | 14090 | ± 4.033,9 | Level 4 | Measurement based emission factor | EHS Report 241718 LDAR 2nd-Type 2-2025 (VSV leaks) - ANNEX 16 | X |  | X
3.1.a.4 | BD-OEL (blow-down open ended line) |  |  |  |  | N/A | N/A
3.1.a.5 | OEL |  |  |  |  | 10251.11 | ± 1.813,7 | Level 4 | Measurement based emission factor | EHS Report 241718 LDAR 2nd-Type 2-2025 (OEL subtracting chromatographs leaks) - ANNEX 16 | X |  | X
3.1.a.6 | Others |  |  |  |  | 2240 | ± 908,2 | Level 4 | Measurement based emission factor | EHS Report 241718 LDAR 2nd-Type 2-2025 ("Others" leaks) - ANNEX 16 | X |  | X
3.1.b | Vents |  |  |  |  | 67122.4645
3.1.b.1 | Purging & venting (maintenance, process, commissioning&decommissioning) |  |  |  |  | 4.5341 | unknown | Level 4 | Detailed engineering calculations | Incident statements issued by BBG in its management system - ANNEX 11 |  |  | X |  |  | X
3.1.b.2.a | Pneumatic devices |  |  |  |  | N/A | N/A
3.1.b.2.b | Gas analysers |  |  |  |  | 318.89 | unknown | Level 4 | Detailed engineering calculations | Technical specifications of chromatographs sent to OGMP (T. Meixus) - ANNEX 10 |  |  | X |  |  | X
3.1.b.2.c | Seals of the compressor units |  |  |  |  | 0 | N/A | Level 4 | Detailed engineering calculations | Technical specifications of BOG compressors sent to OGMP (T. Meixus) |  |  | X
3.1.b.2.d | Others |  |  |  |  | N/A | N/A
3.1.b.2.e | Reciprocating compressor rod packing |  |  |  |  | 0 | N/A | Level 4 | Detailed engineering calculations | Technical specifications of BOG compressors sent to OGMP (T. Meixus) |  |  | X
3.1.b.3 | Incident / Emergency vents |  |  |  |  | 3077.38 | unknown | Level 4 | Detailed engineering calculations | Incident statements issued by BBG in its management system - ANNEX 11 |  |  | X |  |  | X
3.1.b.4 | Others |  |  |  |  | 53041.8 | unknown | Level 4 | Measurement based emission factor | AEROMON REPORT "25-2699e_SO1592_Aeromon_BBG_Bilbao_oct2025_V1_1" - ANNEX 22 | X |  | X | X | X
3.1.b.5 | Start/stop vents |  |  |  |  | 10243.84 | N/A
3.1.b.5.a | Total emission caused by starts |  |  |  |  | N/A | N/A
3.1.b.5.b | Total emission caused by stops |  |  |  |  | 10243.84 | unknown | Level 4 | Detailed engineering calculations | Incident statements issued by BBG in its management system - ANNEX 11 |  |  | X |  |  | X
3.1.b.6 | Vents associated to additional services |  |  |  |  | 436.0203 | unknown | Level 4 | Detailed engineering calculations | Emissions calculations using historical leaks from the tanker loading arms - ANNEX 12 |  |  | X |  |  | X
3.1.c | Incomplete combustion |  |  |  |  | 247.3275
3.1.c.1 | Gas combustion devices |  |  |  |  | 119.5082 | ± 25,208 | Level 4 | Measurement based emission factor | Measurement of unburned equipment carried out in 2023 | X |  | X
3.1.c.1.a | Turbines |  |  |  |  | N/A | N/A
3.1.c.1.b | Engines |  |  |  |  | 3.2015 | ± 0,4962 | Level 4 | Measurement based emission factor | Measurement of unburned equipment carried out in 2023 | X |  | X
3.1.c.1.c | Heaters/pre-heating system/boilers, gas dehydration unit/etc |  |  |  |  | 0.247 | ± 0,03828 | Level 4 | Measurement based emission factor | Measurement of unburned equipment carried out in 2023 | X |  | X
3.1.c.1.d | SCV |  |  |  |  | 112.575 | ± 17,445 | Level 4 | Measurement based emission factor | Measurement of unburned equipment carried out in 2023 | X |  | X
3.1.c.1.e | Others | 1021296 | kWh | 3.412e-06 | kg CH4/kWh | 3.4847 | unknown | Level 3 | Detailed engineering calculations | See the note in cell E40 |  |  | X | X
3.1.c.2 | Flaring | 230194 | kWh | 0.00055527 | kg CH4/kWh | 127.8194 | unknown | Level 4 | Detailed engineering calculations | See the note in cell E41 |  |  | X | X
Level5 | ASSET - TOTAL EMISSIONS L5 |  |  |  |  | 115780.902 | ± 7,33 | Level 5 |  | EHS “241718-3_BBG_Reconciliation Report_2025 - V2.rev_26-1020e” - ANNEX 23 AEROMON REPORT "25-2699e_SO1592_Aeromon_BBG_Bilbao_oct2025_V1_1" - ANNEX 22 | X |  | X | X | X
Note on B17: PSV Pressure Safety Valve
Note on B19: OPEN EXIT subtracting the emission of the chromatographs that is included in "Gas analyzers"
Note on B20: FLANGES SEAL PUMPS
Note on B29: Marta Bajos: LEARNING RECONCILIATION // Site-level that have been incorporated = 6.055 kg/h = 53,041.80 Kg/year (= value for L5 minus source level value in areas: tank 102 + S tanks + Flare + Jetty) BOG compressors = 2.91 Kg/h: The source-level is taken in this area as it is considered more accurate Tank 102 = 2.22 Kg/h: An average value is taken between the source-level and the site-level. On the one hand, it is considered that the source-level may not have incorporated some non-accessible sources. On the other hand, it is considered that the site-level may have doubled emissions from other areas. S tanks = 1.99 Kg/h: The site-level is taken as it is considered more accurate Flare = 2.83 Kg/h: Torch learning is incorporated. This source will continue to be investigated in the future Jetty = 1.84 Kg/h: The site-level is taken as it is more accurate, there are leaks in the inaccessible arms that could not be quantified at the source level The value of the "Learning from Reconciliation" is reported in cell H29 (OTHER VENTS), since BBG is in the process of analyzing the origin of these emissions in order to mitigate them.
Note on B33: Marta Bajos: tank loading station
Note on I37: Marta Bajos: Based on available information. The estimate took into account BBG flow rates and the uncertainty does not include the error of that component.
Note on I38: Marta Bajos: Based on available information. The estimate took into account BBG flow rates and the uncertainty does not include the error of that component.
Note on I39: Marta Bajos: Based on available information. The estimate took into account BBG flow rates and the uncertainty does not include the error of that component.
Note on B40: Autor: PILOT BURNERS
Note on E40: Marta Bajos: PILOT BURNERS Methodological approach The methane emissions associated with the pilots and auxiliary burners have been calculated by applying an emission factor per unit of energy, in accordance with the greenhouse gas inventory methodologies for stationary combustion of natural gas. This approach is consistent with international guidelines and is suitable for stable and continuous combustion equipment, where the methane emitted corresponds primarily to the residual methane in the flue gases. Emission factor applied The methane emission factor for stationary combustion of natural gas published by the US Environmental Protection Agency (EPA) has been used: 1,0 g CH₄ / mmBtu This value has been converted to inventory units: 1 mmBtu=293,071 kWh FE_pilotos=1.0/293.071=0.003412 g CH_4/kWh Emissions calculation Methane emissions have been calculated using the following expression: E_(CH_4, pilots)=Consumo_kWh×FE_pilotos Applying the annual consumption of the pilots and auxiliary burners, 3.49 kg of CH₄ are obtained.
Note on E41: Marta Bajos: FLARING Methodological principle The methane emissions associated with the flare have been estimated from the methane not destroyed during the combustion process, rather than applying a generic factor. The calculation is based on the destruction and disposal efficiency (DRE) of the flare, determined by specific measurement at the facility, which allows a more representative estimate with less uncertainty. Torch destruction efficiency The destruction efficiency of the torch has been measured by means of specific instrumentation, obtaining the following result: DRE = 99.11% The fraction of undestroyed methane is calculated as: Undestroyed fraction=1-DRE=0.0089 Calculating the torch emission factor The methane emission factor from the flare has been obtained by combining: • The fraction of undestroyed methane. • The ratio of energy to mass of natural gas (on PCS basis). • The actual fraction of methane in natural gas. The expression used is: FE_antorcha=(1-DRE)×kg gas/kWh×x_(CH_4 )×1000 Substituting the values: FE_antorcha=0,0089×0,06526×0,956017×1000 Resulting: FE_ANTORCHA = 0.555 g CH₄/kWh (PCS) Emissions calculation The methane emissions associated with the flare have been calculated as: E_(CH_4, antorcha)=230,194 kWh×0.555 g/kWh A value of 127.82 kg of CH₄ was obtained.

## List of Excluded Entities
LIST ASSETS/ VENTURES EXCLUDED FROM THE SUBMISSION
Asset/ Venture Name | Asset id | Asset Type | Reason for exclusion | Country | Latitude | Longitude | Operated? | Operator | Reported by another OGMP 2.0 Member? | % Equity (Note- Ownership of emissions) | (Divested assets) Please indicate month/year when the asset was divested | (Divested assets) Was the asset divested to an OGMP2.0 member? (Y/N) | Comments

## version
version | MidandDownstream_ReportingTemplate_2025_v2

## ListofCountries
Côte d'Ivoire | 2iRete | Distribution-Compressors
Democratic People's Republic of Korea | Abu Dhabi National Oil Company (ADNOC) | Distribution Grid
Lao People's Democratic Republic | Adrigas SpA | Distribution LNG Satellite
Afghanistan | Aker BP | LNG Liquefaction
Albania | Amber Grid | LNG Regasification
Algeria | APA Corporation | LNG Transport
Andorra | AS GASO | Shipping
Angola | Asharami Energy | Transmission Compressor Station
Antigua and Barbuda | Atlantic LNG | Transmission LNG Peak Shaving
Argentina | Azule Energy Angola | Transmission Pipelines
Armenia | Bahia de Bizkaia Gas, S.L. (BBG) | Transmission Stations
Australia | Bapco Energies | UGS
Austria | bp | Gathering and boosting facilities
Azerbaijan | Cairn Oil & Gas Vedanta Limited | Abandoned wells
Bahamas | Cheniere | Exploration
Bahrain | Chesapeake | Gas Processing Unit
Bangladesh | Chevron Corporation | Production Offshore
Barbados | China Gas Holdings Limited | Production per region/basin: Onshore – Conventional
Belarus | Civitas Resources | Production per region/basin: Onshore – Unconventional
Belgium | Conoco Phillips | Tank batteries
Belize | Coteq Netbeheer B.V.
Benin | Coterra
Bhutan | Crescent Energy
Bolivia (Plurinational State of) | Depomures
Bosnia and Herzegovina | Devon Energy
Botswana | Diamondback Energy
Brazil | Distrigaz Sud Retele
Brunei Darussalam | Diversified Energy
Bulgaria | Dugan Production Corporation
Burkina Faso | Ecopetrol
Burundi | Enagás
Cabo Verde | Enaon
Cambodia | Encino Energy
Cameroon | Energienetze Bayern GmbH & Co.KG
Canada | Energinet
Central African Republic | Enexis
Chad | Engie Mexico
Chile | Engie Stream Solutions Chile
China | Eni
Colombia | EOG Resources
Comoros | EP Petroecuador
Congo | EQT Corporation
Costa Rica | Equinor
Croatia | Eustream, a.s.
Cuba | EWE GASSPEICHER GmbH
Cyprus | EWE NETZ GmbH
Czechia | Expert Petroleum
Democratic Republic of the Congo | ExxonMobil
Denmark | FGSZ Hungary
Djibouti | Floene
Dominica | Fluvius
Dominican Republic | Fluxys Belgium
Ecuador | Gas Connect Austria
Egypt | Gas Storage Denmark
El Salvador | GASCADE Gastransport GmbH
Equatorial Guinea | GasNet
Eritrea | Gasunie Deutschland Transport Services GmbH
Estonia | Gate Terminal
Eswatini | Gaz System S.A
Ethiopia | GEI SPA
Fiji | GNL Mejillones
Finland | GNL Quintero
France | GRDF
Gabon | GRTgaz
Gambia | GRTgaz Deutschland GmbH
Georgia | Harbour Energy
Germany | Hellenic Gas Transmission System Operator (DESFA) S.A.
Ghana | Heritage Petroleum
Greece | Inpex Corporation
Grenada | Italgas
Guatemala | Ithaca Energy
Guinea | Jonah Energy LLC
Guinea-Bissau | KazMunayGas
Guyana | Kiwetinohk
Haiti | KPO - Karachaganak Petroleum Operating
Honduras | LD RETI
Hungary | Liander N.V.
Iceland | Madrilena Red de Gas
India | MEDGAZ, S.A.
Indonesia | Metrogas
Iran (Islamic Republic of) | Moldovagaz
Iraq | N.V. RENDO
Ireland | Nafta
Israel | Naftogaz
Italy | NEDGIA (Naturgy Group)
Jamaica | NEL GasTransport GmbH
Japan | Neptune Energy
Jordan | Netze-Gesellschaft Sudwest mbH (NGS)
Kazakhstan | Nigeria LNG
Kenya | NNPC
Kiribati | North Caspian Operating Company (NCOC)
Kuwait | Nowega GmbH
Kyrgyzstan | NTS Brazil
Latvia | NV Nederlandse Gasunie
Lebanon | Oman LNG
Lesotho | OMV AG
Liberia | ONE-Dyas
Libya | ONTRAS Gastransport GmbH
Liechtenstein | Open Grid Europe (OGE)
Lithuania | Oxy
Luxembourg | Pertamina
Madagascar | Petrobras
Malawi | Petroleum Development Oman (PDO)
Malaysia | Petronas
Maldives | Pioneer Natural Resources
Mali | PLANTA DE REGASIFICACIÓN DE SAGUNTO, S.A. (Saggas)
Malta | Presidio Petroleum
Marshall Islands | PTTEP
Mauritania | PureWest
Mauritius | Qatar Energy
Mexico | QB Energy
Micronesia (Federated States of) | REN
Moldova | REN Portgás
Monaco | Repsol
Mongolia | RetiPiu
Montenegro | Retragas
Morocco | Rheinische NETZGesellschaft mbH
Mozambique | Romgaz
Myanmar | schwaben netz gmbh
Namibia | Seapeak
Nauru | Serica Energy
Nepal | Shell
Netherlands | SierraCol
New Zealand | SNAM S.p.A.
Nicaragua | SOCAR
Niger | Stedin Netbeheer B.V.
Nigeria | Storengy Deutschland GmbH
North Macedonia | Storengy France
Norway | Storengy UK
Oman | TAG Brazil
Other | TeReGa
Pakistan | Terminal de LNG de Altamira
Palau | Terminale GNL Adriatico
Panama | terranets bw
Papua New Guinea | The National Gas Company of Trinidad and Tobago Limited (NGC)
Paraguay | Thüga Energienetze GmbH
Peru | Thyssengas
Philippines | TotalEnergies
Poland | Trans Adriatic Pipeline (TAP)
Portugal | Trans Austria Gasleitung GmbH (TAG)
Qatar | Triple Crown Resources
Republic of Korea | TRP Energy
Romania | Unareti
Russian Federation | Uniper Energy Storage GmbH
Rwanda | Var Energi
Saint Kitts and Nevis | Vital Energy
Saint Lucia | VNG Gasspeicher GmbH
Saint Vincent and the Grenadines | Wapiti Energy
Samoa | Westland Infra Netbeheer B.V.
San Marino | Williams
Sao Tome and Principe | Wintershall Dea
Saudi Arabia | Woodside Energy
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovakia
Slovenia
Solomon Islands
Somalia
South Africa
South Sudan
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Tajikistan
Thailand
Timor-Leste
Togo
Tonga
Trinidad and Tobago
Tunisia
Turkmenistan
Tuvalu
Türkiye
Uganda
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Uzbekistan
Vanuatu
Venezuela
Viet Nam
Yemen
Zambia
Zimbabwe