## LNG Regasification
Asset Name | LNG regasification terminal at Sagunto
Asset id | 4bce13c5-8252-4787-b33e-0af8043c7511
Asset Type | LNG Regasification
Country | Spain
Latitude | 39.6339
Longitude | -0.21509
Operated? | Yes
Operator | Planta de Regasificación de Sagunto, S.A.
% Equity | 100%
Description of the Asset | LNG Import terminal with: 4 Tanks (150.000 m3 each); 3 LNG unloading arms, 1 vapour return; 12 intake pumps; 8 secondary pumps; 1 seawater intake (6 pumps); 5 Open rack vaporizers (200.000 Nm3/h each); 1 Submerged combustion vaporizer (150.000 Nm3/h); 1 Sendout compressor; 2 truck loading platforms; 1 metering station | Activity Factors |  | Emission Factors |  | Levels 1, 2, 3, 4
[6 empty] | Methane | Uncertainty | Level | Comments | Comments | Source for own data (please include one or more "X")
|  | Data | Unit | Data | Unit | kg/y |  | Please indicate the Level of the data: 1 / 2 /3 / 4 | L4 method | Please feel free to provide any additional information (e.g.- Investments/divestments of facilities in the asset) | Measurements | EF Measurements | EF Literature | Calculation | Modelling | Estimation
3 | ASSET - TOTAL EMISSIONS |  |  |  |  | 9921.6463
3.1.a | Fugitive Emissions |  |  |  |  | 8739.3054 | 43.86 | Level 4 | Measurement based emission factor | Accredited body by ENAC + Saggas team // Unintended equipment leaks TGD followed. // 100% LNG terminal components inventoired. // MATERIAL
3.1.a.1 | Connections (flanges, seals, joints) |  |  |  |  | 5455.5303 |  | Level 4 | Measurement based emission factor | LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration. | x | x
3.1.a.2 | Valves and control valves |  |  |  |  | 1809.6634 |  | Level 4 | Measurement based emission factor | LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration. | x | x
3.1.a.3 | Pressure relief valves |  |  |  |  | 691.9346 |  | Level 4 | Measurement based emission factor | LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration. | x | x
3.1.a.4 | BD-OEL (blow-down open ended line) |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.a.5 | OEL |  |  |  |  | 0.59492 |  | Level 4 | Measurement based emission factor | LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration. | x | x
3.1.a.6 | Others |  |  |  |  | 781.5822 |  | Level 4 | Measurement based emission factor | LEVEL 4 - yearly 100% component polulation covered by using an accepted quantification methodology via LDAR accredited body by ENAC, reference Method 21 & UNE-EN 15446 + leak duration. | x | x
3.1.b | Vents |  |  |  |  | 1180.8373 |  | Level 4 | Others | Accredited body by ENAC + Saggas engineers // Purging and venting, starts and stops and other procss and maintenance vents and Incidents, emergency stops and malfunctions TGDs followed. // MATERIAL
3.1.b.1 | Purging & venting (maintenance, process, commissioning&decommissioning) |  |  |  |  | 1130.97 |  | Level 4 | Others | LEVEL 4 - 100% Maintenance events registered. Maintenance events with CH4 emissions, quantification via engineering calculations --> 144 kg/// LEVEL 4 100% population events registered from vessels unloading/loading and loading road tankers + Screening Value emissions via representative sample number of vessels and tankers measured + EF reference Method 21 & UNE-EN 15446 + leak duration --> 22 kg. /// LEVEL 4 Starts and Operated ORVs 100% population events registered + 1 Screening Value each ORV + EF reference Method 21 & UNE-EN 15446 + leak duration --> 23 kg | x | x |  | x
3.1.b.2.a | Pneumatic devices |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.b.2.b | Gas analysers |  |  |  |  | 46.623 |  | Level 4 | Detailed engineering calculations | LEVEL 4 - Gas flow + Engineering calculations, 100% year covered. | x
3.1.b.2.c | Seals of the compressor units |  |  |  |  | N/A |  |  |  | Laby® Compressors, Labyrinth Sealing, the unique sealing system: Each gland has a collector chamber before the lower end of the labyrinths from where the leak gas is internally returned to the suction up-stream of the first stage cylinders. The entire machine represents therefore one hermetically closed shell with no gas leakage to the environment.
3.1.b.2.d | Others |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.b.2.e | Reciprocating compressor rod packing |  |  |  |  | N/A |  |  |  | Laby® Compressors, Labyrinth Sealing, the unique sealing system: Each gland has a collector chamber before the lower end of the labyrinths from where the leak gas is internally returned to the suction up-stream of the first stage cylinders. The entire machine represents therefore one hermetically closed shell with no gas leakage to the environment.
3.1.b.3 | Incident / Emergency vents |  |  |  |  | 3.2443 |  | Level 3 | Measurement based emission factor | LEVEL 3 INCIDENTS TGD- 100 % events registered, implemented management reporting. Quantification best judgement: EF souce type API compendium + time. NO MATERIAL |  |  | x
3.1.b.4 | Others |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.. Non-routine venting. Boil Off Gas reliquation, the best design terminal criteria and Management.
3.1.b.5 | Start/stop vents |  |  |  |  | 0 |  | Level 3 |  | No emissions as start LNG terminal event
3.1.b.5.a | Total emission caused by starts |  |  |  |  | 0 |  | Level 3 |  | No emissions as start LNG terminal event
3.1.b.5.b | Total emission caused by stops |  |  |  |  | 0 |  | Level 3 |  | No emissions as stop LNG termnal event XXXXXX
3.1.b.6 | Vents associated to additional services |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.c | Incomplete combustion |  |  |  |  | 1.5037 |  | Level 4 | Detailed engineering calculations | LEVEL 4 - Gas flow + Engineering calculations, 100% year covered.
3.1.c.1 | Gas combustion devices |  |  |  |  | 0.42639 |  | Level 4 | Detailed engineering calculations | LEVEL 4 - Gas flow + Engineering calculations, 100% year covered.
3.1.c.1.a | Turbines |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.c.1.b | Engines |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.c.1.c | Heaters/pre-heating system/boilers, gas dehydration unit/etc |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.c.1.d | SCV |  |  |  |  | 0.42639 |  | Level 4 | Detailed engineering calculations | LEVEL 4 - Gas flow + Engineering calculations, 100% year covered. | x | x
3.1.c.1.e | Others |  |  |  |  | N/A |  |  |  | Not-Applicable: The source does not exist for the asset.
3.1.c.2 | Flaring |  |  |  |  | 1.0773 |  | Level 4 | Detailed engineering calculations | LEVEL 4 - Gas flow + Engineering calculations, 100% year covered. | x |  |  | x
Level5 | ASSET - TOTAL EMISSIONS L5 | [6 empty] | Level 5

## List of Excluded Entities
LIST ASSETS/ VENTURES EXCLUDED FROM THE SUBMISSION
Asset/ Venture Name | Asset id | Asset Type | Reason for exclusion | Country | Latitude | Longitude | Operated? | Operator | Reported by another OGMP 2.0 Member? | % Equity (Note- Ownership of emissions) | (Divested assets) Please indicate month/year when the asset was divested | (Divested assets) Was the asset divested to an OGMP2.0 member? (Y/N) | Comments
SAGGAS - Transmission 7 km pipeline | 378286c8-e923-5a9d-bd15-4262b73b8ca6 | Transmission Pipelines | Reported by another OGMP 2.0 Member | Spain | 39.6317 | -0.21725 | No | Enagás | No | 100% |  | No | Transmission 7 km pipeline

## version (hidden)
version | MidandDownstream_ReportingTemplate_2023_v7

## ListofCountries (hidden)
Côte d'Ivoire | 2iRete | Distribution-Compressors
Democratic People's Republic of Korea | APA Corporation | Distribution Grid
Lao People's Democratic Republic | Abu Dhabi National Oil Company (ADNOC) | Distribution LNG Satellite
Afghanistan | Adrigas SpA | LNG Liquefaction
Albania | Aker BP | LNG Regasification
Algeria | Azule Energy Angola | LNG Transport
Andorra | BALANCE Erneuerbare Energien GmbH | Shipping
Angola | Bahia de Bizkaia Gas, S.L. (BBG) | Transmission Compressor Station
Antigua and Barbuda | Cheniere | Transmission LNG Peak Shaving
Argentina | Chesapeake | Transmission Pipelines
Armenia | China Gas Holdings Limited | Transmission Stations
Australia | Civitas Resources | UGS
Austria | Conoco Phillips | Gathering and boosting facilities
Azerbaijan | Coteq Netbeheer B.V. | Abandoned wells
Bahamas | Coterra | Exploration
Bahrain | Crescent Energy | Gas Processing Unit
Bangladesh | Devon Energy | Production Offshore
Barbados | Diamondback Energy | Production per region/basin: Onshore – Conventional
Belarus | Distrigaz Sud Retele | Production per region/basin: Onshore – Unconventional
Belgium | Diversified Energy | Tank batteries
Belize | EOG Resources
Benin | EP Petroecuador
Bhutan | EQT Corporation
Bolivia (Plurinational State of) | EWE GASSPEICHER GmbH
Bosnia and Herzegovina | EWE NETZ GmbH
Botswana | Ecopetrol
Brazil | Enagás
Brunei Darussalam | Enduris B.V.
Bulgaria | Energienetze Bayern GmbH & Co.KG
Burkina Faso | Energinet
Burundi | Enexis
Cabo Verde | Eni
Cambodia | Equinor
Cameroon | Eustream, a.s.
Canada | Expert Petroleum
Central African Republic | FGSZ Hungary
Chad | Fluvius
Chile | Fluxys Belgium
China | GA-MA Skopje
Colombia | GASCADE Gastransport GmbH
Comoros | GEI SPA
Congo | GRDF
Costa Rica | GRTgaz Deutschland GmbH
Croatia | GRTgaz
Cuba | Gas Connect Austria
Cyprus | Gas Storage Denmark
Czechia | Gasunie Deutschland Transport Services GmbH
Democratic Republic of the Congo | Gaz System S.A
Denmark | Hellenic Gas Transmission System Operator (DESFA) S.A.
Djibouti | Italgas
Dominica | Jonah Energy LLC
Dominican Republic | LD RETI
Ecuador | Liander N.V.
Egypt | MEDGAZ, S.A.
El Salvador | Madrilena Red de Gas
Equatorial Guinea | Moldovagaz
Eritrea | N.V. RENDO
Estonia | NEDGIA
Eswatini | NEL GasTransport GmbH
Ethiopia | NTS Brazil
Fiji | NV Nederlandse Gasunie
Finland | Naftogaz
France | Neptune Energy
Gabon | Netze-Gesellschaft Sudwest mbH (NGS)
Gambia | Nigeria LNG
Georgia | Nowega GmbH
Germany | ONE-Dyas
Ghana | ONTRAS Gastransport GmbH
Greece | OPAL Gastransport GmbH & Co. KG
Grenada | Oman LNG
Guatemala | Open Grid Europe (OGE)
Guinea | Oxy
Guinea-Bissau | PDC Energy
Guyana | PLANTA DE REGASIFICACIÓN DE SAGUNTO, S.A. (Saggas)
Haiti | PTTEP
Honduras | Petrobras
Hungary | Petroleum Development Oman (PDO)
Iceland | Petronas
India | Pioneer Natural Resources
Indonesia | Presidio Petroleum
Iran (Islamic Republic of) | PureWest
Iraq | Qatar Energy
Ireland | REN Portgas
Israel | REN
Italy | Repsol
Jamaica | Retragas
Japan | Rheinische NETZGesellschaft mbH
Jordan | Romgaz
Kazakhstan | SNAM S.p.A.
Kenya | Serica Energy
Kiribati | Shell
Kuwait | SierraCol
Kyrgyzstan | Stedin Netbeheer B.V.
Latvia | Storengy Deutschland GmbH
Lebanon | Storengy France
Lesotho | Storengy UK
Liberia | TRP Energy
Libya | TeReGa
Liechtenstein | Terminal de LNG de Altamira
Lithuania | Terminale GNL Adriatico
Luxembourg | The National Gas Company of Trinidad and Tobago Limited (NGC)
Madagascar | Thyssengas
Malawi | Thüga Energienetze GmbH
Malaysia | TotalEnergies
Maldives | Trans Adriatic Pipeline (TAP)
Mali | Trans Austria Gasleitung GmbH (TAG)
Malta | Triple Crown Resources
Marshall Islands | Unareti
Mauritania | Uniper Energy Storage GmbH
Mauritius | VNG Gasspeicher GmbH
Mexico | Wapiti Energy
Micronesia (Federated States of) | Westland Infra Netbeheer B.V.
Moldova | Williams
Monaco | Wintershall Dea GmbH
Mongolia | bp
Montenegro | schwaben netz gmbh
Morocco | terranets bw
Mozambique
Myanmar
Namibia
Nauru
Nepal
Netherlands
New Zealand
Nicaragua
Niger
Nigeria
North Macedonia
Norway
Oman
Other
Pakistan
Palau
Panama
Papua New Guinea
Paraguay
Peru
Philippines
Poland
Portugal
Qatar
Republic of Korea
Romania
Russian Federation
Rwanda
Saint Kitts and Nevis
Saint Lucia
Saint Vincent and the Grenadines
Samoa
San Marino
Sao Tome and Principe
Saudi Arabia
Senegal
Serbia
Seychelles
Sierra Leone
Singapore
Slovakia
Slovenia
Solomon Islands
Somalia
South Africa
South Sudan
Spain
Sri Lanka
Sudan
Suriname
Sweden
Switzerland
Syrian Arab Republic
Tajikistan
Thailand
Timor-Leste
Togo
Tonga
Trinidad and Tobago
Tunisia
Turkmenistan
Tuvalu
Türkiye
Uganda
Ukraine
United Arab Emirates
United Kingdom of Great Britain & Northern Ireland
United Republic of Tanzania
United States of America
Uruguay
Uzbekistan
Vanuatu
Venezuela
Viet Nam
Yemen
Zambia
Zimbabwe